4cmx8cm

|  | JAWAHARLAL NEHRU TECHNOLOGICAL UNIVERSITY KAKINADA UNIVERSITY COLLEGE OF ENGINEERING - NARASARAOPET-522601 Phone No. 08647247198/99 Mobile: 7702908555 Email: principal.ucen@gmail.com |
| --- | --- |

TENDER NOTICE

Tender Notice No. JNTUK-UCEN/Equipment & Furniture /2017-17/1,            Date: 29-05-2017

Sealed quotations are invited from reputed Dealers/ Suppliers for the supply of the listed items. The detailed specifications, terms & Conditions for the items can be obtained in respect of items from the undersigned from 29/05/2017 between 11.00 AM to 5.00 PM on payment of . 500/- (Non-Refundable) in the form of Demand Draft payable at Narasaraopet in favor of Principal, University College of Engineering JNTUK, Narasaraopet drawn on any nationalized bank not earlier than date of this notification. The sealed quotations should reach the undersigned on or before 2.00 PM on 05/06/2017.

The College Authorities reserve the right to accept or reject any or all bids without assigning any reason whatsoever.

PRINCIPAL

|  | JAWAHARLAL NEHRU TECHNOLOGICAL UNIVERSITY KAKINADA UNIVERSITY COLLEGE OF ENGINEERING - NARASARAOPET-522601 Phone No. 08647247198/99 Mobile: 7702908555 Email: principal.ucen@gmail.com |
| --- | --- |

Tender Notice No. JNTUK-UCEN/Equipment & Furniture /2017-17/1,            Date:29-05-2017

TENDER SCHEDULE

GENERAL CONDITIONS:

- Please quote your lowest rates for each item described.  The quotation should reach this office on or before 05/06/2017 by 14:00 hrs. Sealed covers should be submitted for the items super scribing as “Tender No.”, “Date of opening:”, “Item Number(s)”. Separate sealed cover should be submitted for each item. The sealed covers should be sent by the Registered Post or to be dropped in the sealed box provided in the office of the Principal. The tender will be opened on 05/06/2017 at 14:30 hrs. by the undersigned/his nominee in the presence of the committee members and available bidders or their representatives.

- E.M.D:  The tender documents should be submitted along with earnest money deposit Rs.5,000/- in the form of Demand Draft in favor of “The Principal, University College of Engineering JNTUK, Narasaraopet” to be payable at State Bank of India, Main branch, Near LB Market, Narasaraopet.  The Demand Draft pertaining to E.M.D. of unsuccessful party will be returned.

- PRICES:   The price should be F.O.R. destination inclusive of taxes, packing & forwarding charges, freight, delivery and installation charges.  Items on rate contract, if any together with the terms and conditions may please be furnished.

- PAYMENT:  100% payment will be made within a reasonable  time only after the receipt of  all items in good condition and installation as per given specifications and after testing for satisfactory working and on receipt of the company’s invoice with all Supporting vouchers such as copy of A.P. Sales Tax or VAT Registration certificate etc. No advance will be paid in any case either in part or in full.

- ACCEPTANCE:  It is not binding on the university/ institution to accept the lowest of the tenders. The university/ institution reserves the right to place orders for individual items with different bidders.

- SPECIFICATIONS:  Detailed specifications along with the description and make should be mentioned in the bid.

- Warranty/Guaranty:  Warranty/Guaranty period should be mentioned by the bidder.

8.	DELIVERY:   The period of delivery at destination from date of placing orders is FOUR WEEKS.

9. 	VALIDITY:   The quotations should be valid for at least 90 days.

10.  	The Institution reserves the right to cancel the tender without assigning any reason.

11.  	Those that purchased tender schedule officially by paying Rs. 500/- in the form of Demand Draft drawn in favor of Principal, JNTUK, University College of Engineering, payable at Narasaraopet are only eligible to participate in the tender. Those who have downloaded the tender schedule from the JNTUK website (www.jntuk.edu.in) should submit a separate DD for Rs.500/- along with the quotation.

12.  	This Institution being Government educational institution is exempted from payment of Central/State Excise Duty.

13.  	Since the college is Government institution whatever conditions are applicable to any     	Government institute shall be applicable even if not specified.

14.    	Any tender that is received after due date will not be accepted. The college is not responsible for any postal delay.

15. 	List of Major Customers should be provided.

PRINCIPAL

Encl: Items with Description

Item No: 1

Department of ECE

Specifications of

Equipment for the Electronic Devices & Circuits (EDC) Lab

|  | JAWAHARLAL NEHRU TECHNOLOGICAL UNIVERSITY KAKINADA UNIVERSITY COLLEGE OF ENGINEERING - NARASARAOPET-522601 Phone No. 08647247198/99 Mobile: 7702908555 Email: principal.ucen@gmail.com |
| --- | --- |

Tender Notice No. JNTUK-UCEN/Equipment & Furniture /2017-18/1, Date: 29-05-2017

EDC Lab Equipment Specifications

| S.No | Item | Specification | Quantity |
| --- | --- | --- | --- |
|  | Digital Ammeters(0-1mA) | Resolution - 0.001mA Accuracy - 0.3% Rdg. ± 2dgts (DC), 0.5% Rdg. ± 3dgts (AC). Frequency range - 45 ~ 400 Hz for AC range Aux. power source - AC 110V or 220V ±10%, 50 / 60 Hz Operating temperature range - 0°C ~ 50° C Calibration – 270C±50C Power Consumption - AC 5VA | 20 |
|  | Digital Ammeters (0-500 mA) | Resolution - 0.001A Accuracy - 0.3% Rdg. ± 2dgts (DC), 0.5% Rdg. ± 3dgts (AC). Frequency range - 45 ~ 400 Hz for AC range Aux. power source - AC 110V or 220V ±10%, 50 / 60 Hz Operating temperature range - 0°C ~ 50° C Calibration – 270C±50C Power Consumption - AC 5VA | 20 |
|  | Digital Ammeters (0-200µA) | Resolution - 0.1µA Accuracy - 0.3% Rdg. ± 2dgts (DC), 0.5% Rdg. ± 3dgts (AC). Frequency range - 45 ~ 400 Hz for AC range Aux. power source - AC 110V or 220V ±10%, 50 / 60 Hz Operating temperature range - 0°C ~ 50° C Calibration – 270C±50C Power Consumption - AC 5VA | 20 |
|  | Digital Ammeters (0-10A) | Resolution – 0.001A Accuracy - 0.3% Rdg. ± 2dgts (DC), 0.5% Rdg. ± 3dgts (AC). Frequency range - 45 ~ 400 Hz for AC range Aux. power source - AC 110V or 220V ±10%, 50 / 60 Hz Operating temperature range - 0°C ~ 50° C Calibration – 270C±50C Power Consumption - AC 5VA | 20 |
|  | Digital Voltmeters (0-5V) | Resolution - 0.01V Accuracy - 0.1% Rdg. ± 2dgts (DC), 0.5% Rdg. ± 3dgts (AC). Frequency range - 45 ~ 400 Hz for AC range Aux. power source - AC 110V or 220V ±10%, 50 / 60 Hz Operating temperature range - 0°C ~ 50° C Calibration – 270C±50C Power Consumption - AC 5VA | 15 |
|  | Digital Voltmeters (0-30V) | Resolution - 0.1V Accuracy - 0.1% Rdg. ± 2dgts (DC), 0.5% Rdg. ± 3dgts (AC). Frequency range - 45 ~ 400 Hz for AC range Aux. power source - AC 110V or 220V ±10%, 50 / 60 Hz Operating temperature range - 0°C ~ 50° C Calibration – 270C±50C Power Consumption - AC 5VA | 15 |
|  | Analog Multimeters | DC Voltage - 0 – 2.5V/10V/50V/250V/1000V Accuracy - ± 3% AC Voltage - 0 – 10V/50V/250V/1000V Accuracy - ± 4% DC Current - 0 – 2.5mA/25mA/250mA/10A Accuracy - ± 3% Resistance - 0 – 2k/20k/2M/20MΩ Accuracy - ± 3% dB test - -10dB to +62dB Temperature - 250C for rated accuracy Power - Two 1.5V 'AA' Battery | 02 |
|  | Digital Multimeters | AC Voltage Range - 4V to 750V AC Voltage Accuracy - ±(1%+5) DC Voltage Range - 400mV-1000V DC Voltage Accuracy - ±(0.5%+4) AC Current Range - 400µA- 20A DC Current Range (Amp) - 400µA-20A Resistance Range (Ohm) - 400 Ω - 40 MΩ Capacitance Range (F) - 40nF-100µF Frequency Range (Hz) - 9.999Hz to 9.999MHz Accuracy - ±(0.5%rdg+2 dgt) Temperature - -20°C to 1300°C, Accuracy - ±(2%rdg+4dgt) Power - 2 X 1.5 V AAA size Battery | 20 |
|  | Function Generators | Frequency Range - 10 Hz to 15 MHz Display Accuracy - Up to 3 Hz : ± (1% + 3 D), 3 Hz - 3 MHz : ± (5 × 10 + 1D) Supply - 230 V ± 10%, 50 Hz (100/120/220/240 V available on request) Power Consumption - 22 VA approx. Operating Conditions - 0 to 50 °C Output Voltage - 10 Vpp into 50 , max. 20 Vpp open circuit Attenuation - max. 60 dB 2 steps : 20 dB ± 0.2 dB each Variable : 0 to 20 dB Frequency Change - 1 : 100 approx. Input Impedance - 50 k II 25 pF Input Voltage - ±30 V max. | 20 |
|  | CROs | Sensitivity 1mV/cm, Operating Modes: CH I/CH II / CH I & CH II, Alt or Chop (frequency 0.5 MHz approx.) Add or Sub +CH I + CH II (with invert switch for both channels, Bandwidth – 30 MHz Accuracy - ±2% Time Coefficient Accuracy :18 calibrated steps in 1-2-5 seq 0.5 us/div to 0.2 s/div, with variable to 0.2 us/div, with x10 to 20 ns/div, LED indication when UNCAL + 2% | 20 |
|  | Adaptable Regulated Dc Power Supplies | Metering : 3 Digit DPM. Meter Accuracy : ±3 counts. Constant Voltage Mode : Regulation : Line : ±0.01% ±2mV for ±10% change in line output. Load : ±0.01% ±2mV for load change from zero to full load. Ripple & Noise : 1mV rms max. 20Hz - 20MHz. Constant Current Mode : Regulation : Line : ±0.1% ±250µA for ±10% line change. Load : ±0.1% ±250µA for change in output voltage from 0 Volts to maximum output voltage. Ripple & Noise : 0.04% rms. Mode Indication : LED indication for constant voltage / constant current operating mode. Output Polarity : Floating w.r.t. ground. Overload Protection : Automatic overload and short circuit protection. Transient Response : 100µsecs to within 10mV of set output voltage for load change from 10% to 90%. Stability : Total drift within 8 hours, after warm-up. < ±0.2% plus 5mV in constant voltage mode. < ±0.5% plus 5mA in constant current mode with constant line, load and ambient temperature conditions. O Operating Temperature : 0-50 C. Line Voltage : 230V AC ±10% 50Hz, single phase | 20 |

Item No: 2

Department of EEE

Specifications of

Equipment for the Electrical Circuits Lab

Electrical Circuits Lab Specifications

| S.No | Apparatus | Rating | Quantity |
| --- | --- | --- | --- |
| 1 | Rheostats | 70 Ω / 2.8A | 6 |
| 2 |  | 10 Ω / 10A | 5 |
| 3 |  | 200 Ω / 2.8A | 4 |
| 4 |  | 110 Ω / 3A | 4 |
| 5 |  | 45 Ω / 5A | 6 |
| 6 |  | 380 Ω / 1.8A | 4 |
| 7 |  | 100 Ω / 3.5A | 4 |
| 8 |  | 50 Ω / 3.5A | 3 |
| 9 |  | 100 Ω / 3A | 4 |
| 10 |  | 20 Ω / 6.8A | 3 |
| 11 |  | 350 Ω / 2A | 3 |
| 12 |  | 90 Ω / 1.8A | 2 |
| 13 |  | 6 Ω / 10A | 2 |
| 14 |  | 2 Ω / 10A | 2 |
| 15 | Resistors | 2.2k Ω | 4 |
| 16 |  | 1.1k Ω | 3 |
| 17 | Inductance Box | 1-Ø , 230V, 7.5A, 10step | 4 |
| 18 |  | 3-Ø, balanced , 415V, 15A, 15step | 1 |
| 19 | Capacitance | Variable capacitance box (0-100) μF,5A | 2 |
| 20 |  | 100 μF, 5A | 2 |
| 21 | 1-Ø Choke Coil | 0.1H, 5 Ω | 3 |
| 22 | 1-Ø Variac | 230V/(0-270)V, 8 A | 7 |
| 23 | Frequency Meter | (0-60) Hz, 115V/230V/415V | 2 |
| 24 | 3-Ø Variac | 400V/0-470V, 12kVA | 1 |
| 25 | Voltmeters | MI | (0-300)V | 8 |
| 26 |  |  | (0-150)V | 8 |
| 27 |  |  | (0-500)V | 2 |
| 28 |  | MC | (0-30)V | 2 |
| 29 |  |  | (0-300)V | 5 |
| 30 |  |  | (0-60)V | 3 |
| 31 |  |  | (0-150)V | 3 |
| 32 | Ammeters | MC | (0-2)A | 3 |
| 33 |  |  | (0-250) mA | 2 |
| 33 |  | MI | (0-5)A | 6 |
| 34 |  |  | (0-10)A | 3 |
| 35 |  |  | (0-2)A | 3 |
| 36 |  |  | (0-15)A | 3 |
| 37 |  |  | (0-3)A | 3 |
| 38 | Transformers | 220V/134V, 3.3kVA | 1 |
| 39 |  | 230V/115V, 3 kVA | 2 |
| 40 | DPST | Switches | 8 |
| 41 | DPDT |  | 3 |
| 42 | TRPS | (0-30)V, 0.3A | 2 |
| 43 | Wattmeter | 150V/10A –LPF | 2 |
| 45 |  | 150V/10A –UPF | 2 |
| 46 |  | 600V/10A –UPF | 2 |
| 47 | Balanced Resistive Load | 3-Ø,415 V, 7kVA,9.7A | 2 |
| 48 | Rectifiers | Indoor Type, 3-Ø,415V,25kW,100A, Output voltage DC ( 0-250)V | 1 |
| 49 |  | Indoor Type, 3-Ø,415V,50A, Output voltage DC ( 30-50)V | 1 |

Note: 1. All Rheostats should be of EUREKA wire wound on porcelain tube duly coated with silicon coating.

2. All Meters should have an accuracy of ±1% on full scale.

3. All UPF wattmeters should be calibrated at cosØ=1 & LPF wattmeters be calibrated at cosØ=0.2 lag.

Item No: 3

Department of CSE

Specifications of

Computer Systems for Computer Labs

Computer Systems – 120 No.s

| Item | Qty |
| --- | --- |
| Clients | 120 |
| Specifications: S.No Item Specifications 1 Processor Intel® 7th Gen i5 i5-7700 Processor 2 Chipset Intel Q150 Chipset 3 Motherboard OEM Motherboard 4 Memory 8GB, Up to four DIMM slots; Memory Expandable to 64 GB DDR4-2133 MT/s 5 Hard Disk Drive & controller 1TB, SATA 3.0- Hard Drive ( 6Gb/s , 7200 RPM) SMART IV .6 Optical Drive No Optical Drive 7 Graphics & Monitor Integrated Intel HD Graphics with 21.5” LED monitor 8 Audio Integrated High Definition audio with Realtek ALC221codec (all ports are stereo) with Internal Speaker 9 Ethernet Integrated Gigabit NIC 10 Slots (3) Full Height PCIe x1 slots; (1) Full Height PCIe x16 & 1 PCI Slot 11 Bays (1) 3.5-inch internal drive bay supporting hard disk drive; (1) 2.5 inch internal storage drive bay, (1) 5.25 inch half height external bay for optional optical drive, or other devices 12 Port 6 USB 3.0 & 4 USB 2.0 Ports(1 fast charging port front side), (2) PS/2 ports, (1) RJ-45, (1) VGA & Display port, audio in/out , (1) headphone and mic 13 Form Factor Microtower 14 Power Supply 280W, Upto 90% efficient, Active PFC. Energy Star Qualified & EPEAT GOLD Certified 15 Keyboard PS/2 or USB 104 keys keyboard (Same make as PC) 16 Mouse PS/2 or USB 2 Button Scroll Mouse (Same make as PC) 17 Operating System Preinstalled: Linux Distribution with Ubuntu OS Supported: Genuine Windows® 7, Windows 8 & Linux (32-bit or 64-bit) 19 Security Trusted Platform Module (TPM) 1.2( Common Criteria EAL4+Certified); SATA port Disablement (via BIOS); Removable Media write/boot Control ; Power-on Password (Via BIOS); Administrator Password (via BIOS); Support for chassis padlocks and Cable lock Devices; Drive lock (via BIOS) 20 Compliance And Certification For PC : UL, FCC and Win certification & Linux (Redhat/SuSe Certification) 21 Dimension 16.5 x 34 x 35.5 Cm 22 Warranty 3-3-3 years 23 OEM Authorization Letter To Be Enclosed 24*** Head Phones required for 66 Computer Systems with specifications of output impedance -32E, Transmission range – 10mtrs, BT Range- 7 to 10 mtrs, Data rates- 8kbps-300kbps, Earphone output power-10mWx2 |

Computer Systems – 30 No.s

| Item | Qty |
| --- | --- |
| Clients | 30 |
| Specifications: S.No Item Specifications 1 Processor Intel® 7th Gen i5 i5-7700 Processor 2 Chipset Intel Q150 Chipset 3 Motherboard OEM Motherboard 4 Memory 8GB, Up to four DIMM slots; Memory Expandable to 64 GB DDR4-2133 MT/s 5 Hard Disk Drive & controller 1TB, SATA 3.0- Hard Drive ( 6Gb/s , 7200 RPM) SMART IV .6 Optical Drive No Optical Drive 7 Graphics & Monitor Integrated Intel HD Graphics with 21.5” LED monitor 8 Audio Integrated High Definition audio with Realtek ALC221codec (all ports are stereo) with Internal Speaker 9 Ethernet Integrated Gigabit NIC 10 Slots (3) Full Height PCIe x1 slots; (1) Full Height PCIe x16 & 1 PCI Slot 11 Bays (1) 3.5-inch internal drive bay supporting hard disk drive; (1) 2.5 inch internal storage drive bay, (1) 5.25 inch half height external bay for optional optical drive, or other devices 12 Port 6 USB 3.0 & 4 USB 2.0 Ports(1 fast charging port front side), (2) PS/2 ports, (1) RJ-45, (1) VGA & Display port, audio in/out , (1) headphone and mic 13 Form Factor Microtower 14 Power Supply 280W, Upto 90% efficient, Active PFC. Energy Star Qualified & EPEAT GOLD Certified 15 Keyboard PS/2 or USB 104 keys keyboard (Same make as PC) 16 Mouse PS/2 or USB 2 Button Scroll Mouse (Same make as PC) 17 Operating System Preinstalled: Genuine Windows 8 & Linux (32-bit or 64-bit) 19 Security Trusted Platform Module (TPM) 1.2( Common Criteria EAL4+Certified); SATA port Disablement (via BIOS); Removable Media write/boot Control ; Power-on Password (Via BIOS); Administrator Password (via BIOS); Support for chassis padlocks and Cable lock Devices; Drive lock (via BIOS) 20 Compliance And Certification For PC : UL, FCC and Win certification & Linux (Redhat/SuSe Certification) 21 Dimension 16.5 x 34 x 35.5 Cm 22 Warranty 3-3-3 years 23 OEM Authorization Letter To Be Enclosed |

10 – KVA UPS -03 No.s

| Item | Qty |
| --- | --- |
| 10 – KVA UPS | 03 |
| UPS Technical Specifications |
| S. No 1 Online UPS Rating: 10KVA 2 Back-up time: 1 Hour on full load 3 INPUT 3a Voltage Rang: i. Low Line Transfer: 160VAC for 100% load & 110VAC for 60% load. ii. Low Line Comeback : 185VAC for 100% load & 135VAC for 60% load. iii. High Line Transfer: 300VAC +/- 5% iv. High Line Come back: 290VAC +/- 5% 3b Frequency Range: 46 - 54 Hz 3c Phase: Single Phase with Ground 3d Power Factor: >= 0.99 at 100% load. 4 OUTPUT 4a Output Voltage : 230VAC Phase: Single Phase. 4b AC Voltage Regulation: +/- 1% 4c Frequency Range: 46 - 54 Hz 4d Frequency Range on battery mode: 50Hz +/-0.1 Hz 4e Overload: 105% to 110% upto 3 mins 4f Current Crest Factor: 3:01 4g Harmonic Distortion: <= 3% THD (Linear Load) <=5% THD ( Non Linear Load) 4h Transfer Time: AC to Battery mode: Zero milli secs. Inverter to Bypass : Zero milli secs. 4i Wave Form (Battery Mode) Pure Sine Wave 5 BATTERY 5a Capacity & number of batteries For 10KVA UPS---65AH-20Nos Note: If any single battery fails then UPS should be adjustable to work with existing number of batteries. It should work on 16, 17, 18, 19 & 20 batteries. So UPS should work on 192VDC to 240VDC. 5b Battery Make: Exide/Quanta/Numeric/Panasonic 6 ENVIRONMENT 6a Operational Humidity: <95% non condensing. 6b Noise Level i For 2KVA UPS: <50dB @ 1 meter distance ii For 5KVA UPS: <55dB @ 1 meter distance iii For 10KVA UPS: < 58dB @ 1 meter distance 7 MANAGEMENT Smart RS-232 or USB: Support Windows 2000/2003/XP/VISTA/2008/7, Linux, Unix and MAC 8 ISOLATION TRANSFORMER: All UPS must contain Inbuilt Isolation Transformer. Note: Vendors are requested to quote with in-built isolation transformer only. Providing Isolation transformer externally to UPS will not be accepted 9 GENERAL TERMS 9a. Service support: Vendors should depute at least one resident service engineer at Narasaraopeta/ Guntur & Companies Authorized service centre should be at Guntur. 9b. Companies turn over should be above 400Cr. /Annum. 9c. At least 1500 & above UPS should be installed at Narasaraopeta / Guntur. Taxes : All Inclusive Warranty: One Year for non-specified items Delivery: Within 2 Weeks from the receipt of P.O |

Item No: 4

Department of Civil Engg.

Specifications of

Equipment for the Surveying Field Work-I Laboratory

Surveying Field Work-I Laboratory Specifications

| S.No | Item | Qty. No.s |
| --- | --- | --- |
|  | 30m-Chains & 30m-Metallic Tapes | 10 |
|  | 3m-Ranging Rod & Cross Staff | 10 |
|  | Arrows | 100 |
|  | Prismatic Compass (half degree) | 15 |
|  | Surveyor’s Compass with Tripod Stand | 02 |
|  | Optical Square & Offset Rod | 10 |
|  | Plane Table Station | 08 |
|  | 3m-Leveling Staff & Dumpy Level (with straight image) With stand | 08 |
|  | 2m-Ranging Rods | 20 |
|  | Miscellaneous- Models, charts & Maps-RS&GIS | - |

Item No: 5

Department of Mechanical Engg.

Specifications of

Equipment for the Engineering Workshop Laboratory

Engineering Workshop Laboratory Specifications

| S.No | Item | Qty. No.s |
| --- | --- | --- |
|  | Metal jack plane 6” | 06 |
|  | Hand saw 12” | 12 |
|  | Hand saw 18” | 06 |
|  | Carpentry Try Square 6” | 12 |
|  | Mortise chisel ½” | 12 |
|  | Steel rule 12” | 30 |
|  | Half round wood rasp file 12” | 06 |
|  | Half round wood rasp file 10” | 06 |
|  | Marking guage GS | 06 |
|  | Hand saw 18” | 06 |
|  | Carpentry vice 6” | 06 |
|  | Taper saw file 4” | 06 |
|  | Firmer chisel 25 mm | 06 |
|  | Hack saw frame 300 mm | 12 |
|  | Ball peen hammer 500 gm | 06 |
|  | Flat file - rough 250 mm | 06 |
|  | Flat file – smooth 10” | 06 |
|  | Square file 250 mm | 06 |
|  | Square file 150 mm | 06 |
|  | Triangular file 150 mm | 06 |
|  | Round file 250 mm | 06 |
|  | Round file 150 mm | 06 |
|  | Half round file 150 mm | 06 |
|  | Bench vice 4” | 10 |
|  | Number punch set 1 to 9 | 01 |
|  | Letter punch set A to Z | 01 |
|  | Dot punch 5” | 06 |
|  | File card 6” | 06 |
|  | Screw driver set All Sizes | 01 |
|  | Hand drilling machine Medium | 01 |
|  | Scriber GS | 06 |
|  | Tin cutter 6” | 06 |
|  | Cross peen hammer 50lbs | 03 |
|  | PVC mallets 2” | 06 |
|  | Nose plier 6” | 02 |
|  | Curved snips 6” | 02 |
|  | Divider 6” | 06 |
|  | Cutting plier 8” | 06 |
|  | Tester | 06 |
|  | Electric hand gloves GS | 06 |
|  | Screw driver 12” | 06 |
|  | Electric blower GS | 01 |
|  | Round bit tongs GS | 02 |
|  | Square bit tongs GS | 02 |
|  | Pick up tongs GS | 02 |
|  | Big hammers with handles 6 lb | 01 |
|  | Swage block 12”x12”x4” | 01 |
|  | Flatters GS | 02 |
|  | Sledge hammers 2 lb | 01 |
|  | Flat tongs | 02 |
|  | Anvil | 01 |

Item No: 6

Department of Mechanical Engg.

Specifications of

Equipment for the Mechanics of Solids & Metallurgy Laboratory

Mechanics of Solids Laboratory Specifications

| S.No | Item | Qty. No.s | Specifications |
| --- | --- | --- | --- |
| 1 | Bending Test on Simple Supported & Cantilever Beam | 01 | Length of beams -1m, Type of materials-Brass, steel, Aluminum, Alloy steel, Thickness-5mm |
| 2 | Rockwell Hardness Test Rig (optional Digital) | 01 | For performing brinells and Rockwell Hardness tester Max load 187.5 kgf Load range-60100,150kgf Initial load 10 kgf Max test height -216 mm Depth of throat-113 mm Size of base-171 mm*445mm Machine height-635mm Net weight -98.77kg |
| 3 | Spring Testing Machine | 01 | Maximum load-2500N, Clearance between cross heads-250mm, Least count for length – 0.01m, least count for load – 0.1N |
| 4 | Universal Testing Machine | 01 | Capacity-100 T Load range 0-1000KN* 2 KN 0-500KN*1 KN 0-250KN*0.5 KN 0-100KN*0.2 KN Max clearance 50-850 mm for Tensile test For compression test 0-850mm Clearance between columns 750mm Ram stroke 250 mm Straining or piston speed at no load 0-80 mm per minute Electric supply 2.6Kw |
| 5 | Impact Test for both Izod & Charpy | 01 | ASI Make suitable both Izod and Charpy tests Pendulum drop angle- Izod-85 Charpy-140 Pendulum effective weight- Izod-21.24kg Charpy-20.59 Pendulum speed- Izod-3.884m\sec Charpy-5.3465 m\sec Minute Graduations Izod-0.2kgm Charpy-0.2kgm Distance of axis of hammer rotation and centre of test piece point hit by hammer-Izod-825 mm Charpy-825 mm Max permissible loss by friction and windage 0.5% of max impact energy. |
| 6 | Brinell Hardness Test Machine DIGITAL | 01 | Major Load 60, 100, 150, 187.5 Kgf, maximum height 250 mm, depth throat 150 mm, diamond indenter 1200 |
| 7 | Torsion Test Machine | 01 | Maximum Torque-1000Nm, Torque Ranges- 1000, 500, 250, 100 Nm, No.of divisions on Scale -500, Torsion speed- 1.5 rpm reverse. |
| 8 | Miscellaneous- Models, Charts & Specimens | 01 | - |

Metallurgy Laboratory Specifications

| S.No | Item | Qty. No.s | Specifications |
| --- | --- | --- | --- |
| 1 | Disc Polishing Machine | 01 | Disc: Double Disc Variable speed:400 to1400 RPM Motor rating: ¼ AC motor single phase 230V,50Hz |
| 2 | Belt Grinding Machine | 01 | V – type belt, maximum speed – 4000 rpm, Height of machine – 200mm |
| 3 | Abrasive Cutting Machine | 01 | Maximum speed – 15,000 rpm, Diameter of wheel – 300 mm, clearance between wheel and ground – 500 mm |
| 4 | Optical Microscope | 04 | Objective: plan M-10X, Plan M-20X,Plan M-40X,100X(oil) Eyepieces: Wide field WF-10X Magnification Range: 100-1000X(standard) Mechanical stage: Coaxial mechanical square stage size:200mmX152mm Camera Adopter :C-Mount lens adaptor Coarse motion range 35mm,Fine focuse range 1.4mm |
| 5 | Mounting Press Machine |  | 1200 watts heater Provision to accommodate 11/2’’ and 2’’ Dia Digital temperature indicator Hydraulic operator |
| 6 | Specimens, Fe, Cu, Al, Steel etc. | LS | - |
| 7 | Models, Charts and Consumables | - | - |

Item No: 7

Department of Mechanical Engg.

Specifications of

Equipment for the Thermal Engineering and Hydro Prime Movers Laboratory

Thermal Engineering and Hydro Prime Movers Laboratory

| S.No | Item | Qty. No.s |
| --- | --- | --- |
|  | I.C. Engines valve / port timing diagrams | 01 |
|  | I.C. Engines performance test on 4 -stroke Diesel engine | 01 |
|  | I.C. Engines performance test on 2-stroke petrol engine | 01 |
|  | Evaluation of engine friction by conducting Morse test on 4-stroke multi cylinder petrol engine | 01 |
|  | Determination of FHP by retardation and motoring test on IC engine | 01 |
|  | I.C. Engines heat balance on petrol / Diesel engines | 01 |
|  | Economical speed test of an IC engine | 01 |
|  | Study of boilers | 01 |
|  | Impact of jets on Vanes | 01 |
|  | Performance Test on Pelton Wheel | 01 |
|  | Performance Test on Francis Turbine | 01 |
|  | Performance Test on Kaplan Turbine | 01 |
|  | Performance Test on Single Stage Centrifugal Pump | 01 |
|  | Performance Test on Reciprocating Pump | 01 |
|  | Calibration of Venturimeter & Orifice meter | 01 |
|  | Determination of loss of head due to sudden contraction in a pipeline | 01 |

Item No: 8

Department of BS&H.

Specifications of

Equipment for the

Engineering Physics/Applied Physics Laboratory

Engineering Physics/Applied Physics Laboratory Specifications

| S.No. | Item | Quantity |
| --- | --- | --- |
| 1 | Sonometer & Digital Noise Level (Db) Meter | 03 |
| 2 | Newton’s Rings- Diffraction Grating - Wavelengths of Spectral Lines Thin Film | 03 |
| 3 | Zener Diode & Thermistor | 03 |
| 4 | Compound Pendulum & Magnetic Field along the axis of a Circular Coil | 03 |
| 5 | Melde’s Experiment & Torsional Pendulum | 03 |
| 6 | Viscosity Meter | 03 |
| 7 | Weather Station for Compass Wind Speed, Wind Vane, Anemometer, Humidity, Rainfall, Temperature, Collecting Tank (1mx1mx1m) Lux Meter | 01 |

Item No: 9

Department of BS&H.

Specifications of

Equipment for the

Engineering Chemistry /Applied Chemistry Laboratory

Engineering Chemistry/Applied Chemistry Laboratory Specifications

| S.No | Item | Quantity |
| --- | --- | --- |
| 1 | Glassware-Borosil Make | LS |
| 2 | Chemicals-AR Grade | LS |
| 3 | PH Meters | 02 |
| 4 | Conductivity Meter | 02 |
| 5 | Nephlo-Turbidity Meter | 01 |
| 6 | Electrical Balance | 01 |
| 8 | Refrigerator for storage of chemicals- Double Door | 01 |
| 9 | Colorimeter | 01 |
| 10 | Potentiometer | 02 |

Item No: 10

Department of BS&H.

Specifications of

Equipment for the

English Communication Laboratory

English Communication Laboratory Specifications

| S.No | Item |
| --- | --- |
| 1 | Globerena / K-van Solutions software for 65 systems in English communication Lab |

Item No: 11

Infrastructure

Specifications of

Internet Leased Line Connectivity

Internet Leased Line Connectivity Specifications

| S.No | Item | Bandwidth |
| --- | --- | --- |
| 1. | Internet Leased Line (1:1) Connectivity provided by BSNL Service Provider | 10MBPS |

Item No: 12

Infrastructure

Specifications of

LCD PROJECTORS

LCD Projector Specifications

| Item | Qty. |
| --- | --- |
| LCD Projectors | 06 No.s |
| LCD Projector Specifications |
| TECHNOLOGY Projection System | 3LCD Technology |
| LCD Panel | 0.55 inch with MLA (D9) |
| IMAGE Colour Light Output | 3,200 lumen- 2,240 lumen (economy) In accordance with IDMS15.4 |
| White Light Output | 3,200 lumen - 2,240 lumen (economy) In accordance with ISO 21118:2012 |
| Resolution | XGA, 1024 x 768, 4:3 |
| Contrast Ratio | 15,000 : 1 |
| Lamp UHE | UHE, 200 W, 5,000 h durability, 10,000 h durability (economy mode) |
| Keystone Correction | Auto vertical: ± 30 °, Manual horizontal ± 30 ° |
| Colour Reproduction | Upto 1.07 billion colours |
| Aspect Ratio | 4:3 |
| Light source | Lamp |
| Colour Processing | 10 Bits |
| 2D Vertical Refresh Rate | 100 Hz - 120 Hz |
| OPTICAL Projection Ratio | 1.48 - 1.77:1 |
| Zoom | Manual, Factor: 1.2 |
| Image Size | 30 inches - 300 inches |
| Projection Distance Wide/Tele | 1.8 m - 2.17 m ( 60 inch screen) |
| Projection Lens F Number | 1.58 - 1.72 |
| Focal Distance | 16.9 mm - 20.28 mm |
| Focus | Manual |
| Offset | 8 : 1 |
| CONNECTIVITY USB Display Function | 3 in 1: Image / Mouse / Sound |
| Interfaces | USB 2.0 Type A, USB 2.0 Type B, Wireless LAN IEEE 802.11b/g/n (optional), VGA in, HDMI in, Composite in, S-Video in, Cinch audio in |
| GENERAL Energy Use | 277 W, 207 W (economy), 0.26 W (standby) |
| Product dimensions | 297 x 234 x 77 mm (Width x Depth x Height) |
| Product weight | 2.4 kg |
| Noise Level | Normal: 37 dB (A) - Economy: 28 dB (A) |
| Included Software | EasyMP Network Monitor, EasyMP Multi PC Projection, EasyMP Network Projection |
| Loudspeaker | 2 W |
| Colour | White |
| Supply Voltage | AC 100 V - 240 V, 50 Hz - 60 Hz |
| Taxes : All Inclusive Warranty: 24 months Carry in, Lamp: 12 months or 1,000 h Optional warranty extension available Delivery: Within 2 Weeks from the receipt of P.O |

Item No: 13

Infrastructure

Specifications of

Air Conditioner Units

Air Conditioner Units Specifications

| S.No | Item | Qty. No.s |
| --- | --- | --- |
| 1. | 1.5 Ton 3 Star Split Air Conditioner with 1 Indoor Unit, 1 Outdoor Unit, 3 m Copper Wire, Drain Pipe, User Manual Taxes : All Inclusive the Stabilizer and installation charges Warranty: 12 months to 24 months | 12 |

Item No: 14

Infrastructure

Specifications of

Audio System

Audio System Specifications

| S.No | Item | Qty. No.s |
| --- | --- | --- |
| 1 | Audio System With amplifier | 01 |
| 2 | Collar Mikes | 02 |
| 3 | Chord less Mikes | 04 |
| 4 | Podium | 01 |

Item No: 15

Furniture

Specifications of

Plastic Chairs with Arms

Plastic Chairs Specifications

| S.No | Item | Qty. No.s |
| --- | --- | --- |
|  | Plastic Neelkamal Chair with arms | 200 |

Item No: 16

Furniture

Specifications of

Wooden Experimental Benches and Stools

Wooden Experimental Benches and Stools Specifications

| S.No. | Name of the Furniture | Qty. No.s | Specifications |
| --- | --- | --- | --- |
| 1 | Wooden Experimental Benches | 70 | Table Size 4’(L)X3’(W)-33’’(H) with four legs of wood with Salwood leg 3’’X3’’X33’’, Top frame is 6’’X3/4’’ Salwood and footrest is 2’’X1/2” Salwood Top frame 18mm PLB covered with take wood beading, Top side 3 sides closing with 18mm PLB with take wood beading. Top frame 4’X16’’ with back side 3’’ holes with neat polishing. Drawer 15’’X22’’X5’’ of Salwood with coated metal handle. Taxes : All Inclusive |
| 2 | Wooden Stools for Labs | 200 | Stool size 15’’(L) X15’’(W) X 20’’(H) with Leg and foot rest are 1’’ round. Round pipe with 16 gages thickness. Top frame is 1”X1”X2.3 Angular frame. Total M.S Structure will be welded good painting process. Bottom legs are P.V.C bushes are provided. Top plane is Take wood plastic size is 15’’(L) X 15’’(W) X20mm thickness with neat polishing. Taxes : All Inclusive |

Item No: 17

Furniture

Specifications of

S-Type Godrej makes Chairs and Tables

S-Type Godrej makes Chairs and Tables Specifications

| S.No | Item | Qty. No.s |
| --- | --- | --- |
| 1 | S-Type Godrej make Chairs | 75 |
| 2 | Godrej make Double Shelf Table | 12 |
| 3 | Godrej make Single Shelf Table | 36 |
| 4 | Godrej make Almirah with Locker | 15 |

Item No: 18

Library Books

Library Books Requirements

| S.No | Item | Qty. No.s |
| --- | --- | --- |
| 1 | Prescribed Text Books of II B.Tech I Semester of R16 Regulation of JNTUK of CE, EEE, ME, ECE and CSE branches of Engineering | 10-20 of each Title |
| 2 | Prescribed Reference Books of II B.Tech I Semester of R16 Regulation of JNTUK of CE, EEE, ME, ECE and CSE branches of Engineering | 02 of each Title |
| 3 | General Books of repute- Personality Development, Fiction, Epics, Historical, Encyclopedia, Competitive Exams, GK, Autobiographies, etc | 01 each of 1000 Titles |

# Text boxes

JAWAHARLAL NEHRU TECHNOLOGICAL UNIVERSITY KAKINADA

UNIVERSITY COLLEGE OF ENGINEERING, Narasaraopet-522601

Phone No. 08647247198/99              Mobile: 7702908555

Email: principal.ucen@gmail.com

TENDER NOTICE

Lr. No. JNTUK/UCEN/Computer Systems &furniture/2017-18/1, Dt.29.05.2017

Sealed quotations are invited for the supply of Laboratory Equipment/ furniture to our college. For details please refer to the JNTU KAKINADA

Website: www.jntuk.edu.in. Last date for receipt of bids along with E.M.D is

05/06/2017

Sd/- PRINCIPAL