JAWAHARLAL NEHRU TECHNOLOGICAL UNIVERSITY KAKINADA

Department of Civil Engineering

Servo Hydraulic Uni Axial Shake Table System- DST FIST PROGRAMME

Tender Form

Tender Notice No. JNTUK/ DST/FIST/ Equipment / 2017 /1 Dt.: 4-10-2017

- Tender Closing Date: 17-10-2017, 4.30PM

|  | Price Quoted for Supply of Uniaxial Shake Table and Reaction Base 2000mm× 2000mm rated for 2000kg Servo Hydraulic Actuator, Load Cells, Digital Servo Controller, Accelerometers, Servo Hydraulic Power Pack, Hydraulic UPS, Hydraulic Hoses, Control Panel, External Cables, Application Software, Computer & Printer, Enclosure for Controller and PC as per the Technical specifications listed in www.jntuk.edu.in | Price Quoted |
| --- | --- | --- |
|  | Installation Commissioning and Training |  |
|  | Packing and Fright charges |  |
|  | GST as applicable at the time of supply |  |
|  | Delivery time |  |
|  | Validity of offer |  |
|  | Warranty Conditions |  |
|  | List of Enclosures |  |
| 1 | Demand Draft for Rs 3.75 Lakhs (Three Lakhs Seventy Five Thousands) towards EMD in the name of the Principal University College of Engineering | Enclosed / Not Enclosed |
| 2 | Details of the layout of components along with foundations and Civil / Electrical constructions details specified with CAD drawings and Structural Designs | Enclosed / Not Enclosed |
| 3 | Firm ISO 9001 – 2008 Accreditation | Enclosed / Not Enclosed |
| 4 | Details of Supply of 5 numbers of single and multi-axes shake table systems supplied during 5 years | Enclosed / Not Enclosed |
| 5 | Details of Government Institutions and Research Labs with user name, contact details and along with status of operation from respective organization | Enclosed / Not Enclosed |
| 6 | Details of availability of Single Source Local Service Support Facility in Hyderabad / Vijayawada / Chennai / Bangalore with address and contact details. | Enclosed / Not Enclosed |
| 7 | Schedule of Pre-dispatch inspection free of charge at their premises along with the onsite training. | Enclosed / Not Enclosed |
| 8 | To specify layout of the components with foundation details? Shake Table / DAQ and Power pack etc | Enclosed / Not Enclosed |
| 9 | Facilities to be extended to JNTUK | Enclosed / Not Enclosed |

- (Signature with Firm Seal)

Important

EMD / Security Deposit.

Demand Draft or Bank Guarantee for Rs 3.75 Lakhs (Three Lakhs SeventyFive Thousands) towards EMD in the name of the Principal University College of Engineering to be enclosed along with application

Technical Bid should contain:

1. All documents in support of pre-qualifying criteria – Manufacturing/Ownership certificate, Dealership certificate, All available technical literature, catalogues and other data in support of the specification and details of the item.

(Specifications: Stores offered should strictly conform to our specifications. Deviations, if any should be clearly indicated by the tenderer in their quotation. Tender should also indicate the Make/Type number of stores offered and provide catalogues, technical literature, wherever necessary along with the quotations. Test certificates wherever necessary should be forwarded along with supplies. Wherever specifically mentioned, tenderer could suggest changes to specifications with appropriate reasons for the same.

The tender should mention the name of his bankers, GST Registration, PAN number etc. Authority of the person signing the tender, if called for, should be produced.

2. EMD as mentioned in the Tender by way of Demand Draft as mentioned in the tender document (without EMD along with the technical bid, tender will be summarily rejected)

Price Bid

1. Price Bid will be opened only in the case of qualified tenderers recommended by the evaluation committee. Opening of the Price bid will be intimated to the qualified tenders by JNTU Kakinada.

Bids should be sent to The Principal, JNTU Kakinada, Andhra Pradesh – 533 003, with the above title and reference number.

The bids may be sent by registered or speed post or by courier service, so as to reach the Principal before the last date of receipt, or alternatively, be submitted by hand at the Institute.

Principal

University College of Engineering (A)

JNTU Kakinada

Kakinada-533003